**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**ARCHITECTURE, ENGINEERING AND CONSTRUCTION**

ARCHITECTURE & ENGINEERING

326 East Hoover, Mail Stop B

Ann Arbor, MI 48109-1002

Phone: 734-764-3414

Fax: 734-936-3334

BuildingName
The Description of the Project
P00000000 0000

DOCUMENTS

SPECIFICATION DIVISION 9

NUMBER SECTION DESCRIPTION

DIVISION 09 FINISHES

SECTION 098433 – SOUND ABSORBING WALL UNITS

END OF CONTENTS TABLE

1. DIVISION 09 FINISHES
	1. SECTION 098433 – SOUND ABSORBING WALL UNITS

june 2005 - updated to change to 1997 nfpa "life Safety code".

THIS SECTION SPECIFIES STANDARD WALL MOUNTED ACOUSTIC TILE AND AUDIOCUSTIC "SONEX" UNITS.

Other options are available. Consult manufacturer's literature

* + 1. GENERAL
			1. SUMMARY
				1. Extent of acoustic wall panels is indicated on Drawings.
			2. SUBMITTALS
				1. Product Data: Submit mfr's product literature, color samples and installation instructions.

include below for all projects.

* + - * 1. Affidavits of Compliance to be included in final inspection manual:

Provide manufacturer's letter of certification showing compliance with finish testing and classification requirements referenced by current adopted NFPA 101 "Life Safety Code".

Letter shall include project number, project name, and building name.

* + 1. PRODUCTS
			1. ACOUSTIC BAFFLE PANELS
				1. Open cell polyester urethane, wall mounted acoustical panels.

Manufacturer: "Sonex Co."

Model: "Sonex Classic".

Size: 24 inches by 48 inches by 2 inches thick.

* + - 1. ACOUSTIC TILE
				1. Acoustic tile, water felted units.

Manufacturer: "Armstrong World Industries"

Model: "Optima" textured scrim wall panels.

Size: 48 inches by 96 inches by 1 inch thick.

* + 1. EXECUTION
			1. INSTALLATION
				1. Installation: Comply with mfr's recommended procedures for indicated application. Use mfr's recommended adhesives for each substrate.

END OF SECTION 098433