Commissioning Sequence Progress Check Sheet

System: AHU-21

S-21(VSD-S-21, E-21(VSD-E-21), H-21

Acknowledgements

Owner		Contractor

_____		    _____		Shop Drawings Submitted: Listed Equipt.

_____          _____       Shop Drawings approved

_____          _____       Installation Sequence Submitted and Approved

_____          _____       Factory Test Reports Submitted (AHU-21)

_____          _____       Major Components Delivered

_____          _____       Installation Manuals submitted

_____          _____       Pre-Installation Check Sheets: AHU-21, et. al.

_____          _____       Start-Up/Installation Materials Delivered (filters)

_____          _____       O&M Manual (Draft) submitted and approved

_____		    _____	     Mechanical Complete

_____          _____       Electrical Complete

_____ AHU Fan(s)    _____ Control Panel

_____          _____      Controls Complete (subcontractor)

_____          _____       Controls Complete (UM DDC)

_____          _____       Pre-Start-Up Checks Complete, AHU

_____          _____       Pre-Start-Up Checks Complete, VSD's

_____          _____       VSD Mfgr. Check-Test-Start

_____ Mfgr. Check-Test-Start Report

_____          _____       AHU Mfgr. Check-Test-Start

_____ Mfgr. Check-Test-Start Report

_____          _____       Start-Up / Functional Testing (UM Cx agent, UM DDC

Tech, Job Foreman, Mfgr. Rep to attend)

_____          _____       Safeties verified functional (freeze stat; hi/lo limit, etc)

_____          _____       Controls Commissioning Complete

_____          _____       Training Plan (Draft) submitted and approved

_____          _____       Balancing Complete. DP setpoint established

_____          _____       O&M Manual (Final) submitted

_____          _____       All Punch-List Items Completed

_____          _____       Training Scheduled and Completed

_____		    _____		As-Built Drawings Submitted/Approved

_____		    _____		System Accepted by Owner