Commissioning Sequence Progress Check Sheet

System: AHU-2

Lab Air Handler

Custom 135,000 CFM air handler serving Labs on floors 3,4,5 & 6, in conjunction w/AHU-1.  100% outside air unit with heat recovery.  Smoke dampers on discharge of each fan.  Located in the floor 2 MER.  Dual fans for 100% fan redundancy, only one fan at a time runs.  The distribution duct header’s together with AHU–1’s distribution duct on each floor.

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____		Shop Drawings Approved: VSDs, Coil Pumps, BDD, Sound Atten.s

Smoke Dampers

_____		    _____		Factory Test Reports Submitted (AHU)

_____	Major Components Delivered  AHU, VSDs, Coil Pumps, BDD, Sound Atten.s,  Smoke Dampers

_____		    _____		Pre-Installation Check Sheets Complete (AHU, VSDs)

_____		    _____		Installation Manuals Submitted (AHU, VSDs)

_____		Start-up/Installation Materials Delivered (filters)

_____		Mechanical Complete

_____		Electrical Complete

_____ AHU Fan(s) 	_____ control panel

_____		Controls Complete (subcontractor)

_____		Controls Complete (UM DDC)

_____		    _____		Pre-start-up checks complete, AHU

_____		    _____		Pre-start-up checks complete, VSDs

_____		    _____		VSD Mfg. Check-Test-Start

_____		    _____		Mfg. Check-Test-Start Report

_____		    _____		AHU Mfg. Check-Test-Start

_____		    _____		Mfg. Check-Test-Start Report

_____		    _____		Start-up/Functional Testing

_____		    _____		Controls Commissioning Complete

_____		    _____		Balancing Complete.. DP setpoint established

_____		    _____		Training Plan (Draft)

_____		All Punch-list Items Completed

_____		    _____		Training Session Complete

_____		    _____		Contract Commissioning Requirements Completed