Commissioning Sequence Progress Check Sheet

System: AHU-6

Vivarium Air Handler

Custom 25,000 CFM air handler serving the vivarium.  100% outside air unit with heat recovery.  Smoke dampers on discharge.  Distribution duct located in the floor 1i “interstice”.  All distribution duct for the vivarium is header’d together and supplied by all (4) vivarium air handlers (units 3,4,5, and 6).

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____		Shop Drawings Approved: VSDs, Coil Pumps, BDD, Sound Atten.s

Smoke Dampers

_____		    _____		Factory Test Reports Submitted (AHU)

_____	Major Components Delivered  AHU, VSDs, Coil Pumps, BDD, Sound Atten.s, Smoke Dampers

_____		    _____		Pre-Installation Check Sheets Complete (AHU, VSDs)

_____		    _____		Installation Manuals Submitted (AHU, VSDs)

_____		Start-up/Installation Materials Delivered (filters)

_____		Mechanical Complete

_____		Electrical Complete

_____ AHU Fan(s) 	_____ control panel

_____		Controls Complete (subcontractor)

_____		Controls Complete (UM DDC)

_____		    _____		Pre-start-up checks complete, AHU

_____		    _____		Pre-start-up checks complete, VSDs

_____		    _____		VSD Mfg. Check-Test-Start

_____		    _____		Mfg. Check-Test-Start Report

_____		    _____		AHU Mfg. Check-Test-Start

_____		    _____		Mfg. Check-Test-Start Report

_____		    _____		Start-up/Functional Testing

_____		    _____		Controls Commissioning Complete

_____		    _____		Balancing Complete.. DP setpoint established

_____		    _____		Training Plan (Draft)

_____		All Punch-list Items Completed

_____		    _____		Training Session Complete

_____		    _____		Contract Commissioning Requirements Completed