PRE-START CHECKLIST – Chilled Water Pumps

University of Michigan Plant Extension

Commissioning & Plan Review Department

Phone (734) 615-7168 Fax (734) 936-3334

This document shall be filled out by the contractor and provided to the UM Commissioning Engineer at least 7 days in advance of the actual equipment start-up. Note “NA” for not applicable or “NO” for problem or non-compliance. This document is to be used in conjunction with the manufacturer’s pre-start checklist.

Project Name: XXX					Project Number: XXXX-XX-XXX

Tag No.			Model No.			Serial No.

Check     Item	Comments

General:

___ Nameplate Data Label secure, complete, legible and undamaged ______________________________

___ Electrical complete __________________________________________________________________

___ Controls complete ___________________________________________________________________

___ Fasteners tightened __________________________________________________________________

___ Equipment clean ____________________________________________________________________

___ Maintenance clearance is adequate ______________________________________________________

___ Manufacturer pre start checks complete __________________________________________________

Base and Housekeeping Pad:

___ Housekeeping pad proper height _______________________________________________________

___ Vibration isolators (aligned, weight even distributed, free floating) ____________________________

___ Pump base anchored and grouted _______________________________________________________

Pump, Motor, And Coupling:

___ Pump and Motor complies with approved shop drawings ____________________________________

___ Pump location matches coordination drawing location ______________________________________

___ Piping complete ____________________________________________________________________

___ Pressure testing complete _____________________________________________________________

___ Removed Coupling Guard; checked coupling alignment, checked pump and motor anchor bolts______

___ Pump aligned and shimmed by: _______________ Alignment method__________________

___ Bearings greased with proper grease ____________________________________________________

___ Rotated pump by hand (no binding, grinding) _____________________________________________

___ Bumped motor. Checked and corrected rotation ___________________________________________

___ Coupling guard off and ready for inspection by UM Cx ______________________________________

Piping and Accessories:

___ Pipe hangers (no weight on pump) ______________________________________________________

___ System traced for proper installation. (correct flow) ________________________________________

Pump Start-Up:

___ Start-up scheduled for: ____________________, to be conducted by: __________________________

___ Start-up notification faxed to UM commissioner 7 days in advance of scheduled start-up.

Remarks:

## Completed by (print): _______________________Company: __________________________

Signed: _______________________________________ Date: _________________________________