FUNCTIONAL TEST – Clean Steam Generator

University of Michigan Plant Extension

Commissioning and Plan Review Department

Phone (734) 615-7168 Fax (734) 936-3334

This is not a punch list.  The engineer of record, not the commissioning team, performs Punch listing.

Project Name: XXX					Project Number: XXXX-XX-XXX

Attendees:

1) _________________________________________ 2)____________________________________

3) _________________________________________ 4)____________________________________

- Generator maintains pressure_________________________________________

- Low Water Alarm Functions__________________________________________

- Low Pressure Alarm Functions________________________________________

- Auto blowdown Operates____________________________________________

- Condensate Cooler Operates__________________________________________

- Discharge Pressure set for 15 psig._____________________________________

- DDC picks up alarm contacts_________________________________________

Remarks:______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

__________________________________________________________________________________

Completed By: ______________________  Company:____________________Date:______________