Commissioning Sequence Progress Check Sheet

System: LSI Compressed Air Systems

Overview: A 2 inch Compressed Air line at 90 psig (CA) comes from the tunnel, goes through a dryer at level 2, and is distributed to levels 1, 2, 3, 4, 5, 6, and the penthouse. A PRV is provided to reduce the pressure to 55 psig for lab air (A) at each level 1, 3, 4, 5, and 6. The CA provided at level 2 is for temperature controls. CA at the other levels is capped for future use.

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgements

Owner		Contractor

Shop Drawings Approved

_____			Dryer

_____ 			PRV Set

_____		Major Components Delivered

_____		Pre-Installation Checklist Completed

_____          	_____       	Installation Instructions Provided

_____		Installations Complete

_____     	Pressure Testing Complete

_____            	_____     	Flushing/Cleaning Plan Submitted/Approved

_____		      _____		Flushing Complete

_____ 			_____		Pre-start Checklist Completed

_____	     	 	_____		Start – up Notification Submitted

_____ 			_____		Functional Testing Checklist Completed

_____            	_____      	Training Scheduled

_____            	_____      	Training Completed

_____      	All Punch-list Items Completed

_____ 			_____		Contract Commissioning Requirements Completed