Commissioning Sequence Progress Check Sheet

System: LSI Domestic Water Systems

Overview: Covers hot water and cold water systems including Booster Pumps, Recirculation Pumps, BFP, Expansion Tanks, Trap Primers, and PRV’s. Reference sections 15140 and 15444

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____       	Shop Drawings Approved: (Booster Pumps, Expansion Tanks)

_____   	Major Components Delivered

_____          _____       	Installation Instructions Provided

_____		Pre-Installation Check List Complete

_____		_____ 		Pipe / Pump alignment confirmed

UM Cx to view before bolting pipe to pump flanges.

_____		Installations Complete

_____		 _____		Pre-start Check List Complete

_____		PressureTesting Complete, Submitted (UM Inspector)

_____          _____         Flushing/Cleaning/Disinfection Plan Submitted/approved

_____          _____         Flushing Complete  _____Initial Flush

_____ Cleaning

_____ Rinse

_____          _____        Disinfection Completed, Report Submitted to Owner

_____	     	 _____		Start – up Notification Submitted

_____		 _____		Functional Test Check Sheets Completed

_____         All Punch-list Items Completed

_____          _____       	Training Scheduled

_____		 _____		Training Completed

_____		 _____		Contract Commissioning Requirements Completed