Commissioning Sequence Progress Check Sheet

System: Domestic Water Systems

Overview: Domestic hot water and domestic cold water piping, fittings,  fixtures, and specialties at Floor Level 2 through 7. Includes urinals, water closets, lavatories, faucets, thermostatic mixing valves, barrier-free electric water coolers, and emergency eyewash and showers.

Specification Section: 15411; 15440

Acknowledgments

Owner		Contractor

_____		    _____		Shop Drawings Submitted: (Listed equipt.)

_____          _____       Shop Drawings Approved

_____		    _____   	Major Components Delivered

_____          _____       O&M Manual (Draft) submitted and approved

_____		    _____		Installations Complete

_____		    _____		PressureTesting Complete, Submitted (UM Inspector)

_____          _____        Flushing/Cleaning/Disinfection Plan Submitted/approved

_____          _____        Flushing Complete  _____Initial Flush

_____ Cleaning

_____ Rinse

_____          _____        Disinfection Completed, Report Submitted to Owner

_____          _____        O&M Manual (Final) Submitted

_____          _____        All Punch-list Items Completed

_____		    _____		As-Built Drawings Submitted/Approved DOMESTIC

WATER PIPING

_____		    _____		System Accepted by Owner