Commissioning Sequence Progress Check Sheet

## Electrical Equipment Labeling

Overview: All electrical products shall be labeled per spec section 16075.

Acknowledgments

Owner		Contractor

_____	Contractor has reviewed project labeling requirements (Section 16075)

_____         Cable Tray labeling complete (16121-4)

_____         Wire and Cable labeling complete (16122-4)

_____         Medium-voltage Cable labeling complete (16123-4)

_____         Electrical de-icing and snow melt system labeling complete (16125-4)

_____         Cabinet and enclosures labeling complete (16131-2)

_____         Conduit labeling complete (16132-10)

_____         Wiring Devices labeling complete (16141-11)

_____         Power Factor Correction labeling complete (16281-3)

_____         Secondary Unit Substation labeling complete (16360-18)

_____         Circuit Breaker labeling complete (16411-3)

_____         Transfer Switches labeling complete (16413-6)

_____         Low Voltage Motor Control labeling complete (16421-6)

_____         Busway labeling complete (16450-3)

_____         Low-voltage transformers labeling complete (16460-3)

_____         Lighting labeling complete (16510-11)

_____         Lighting control system labeling complete (16570-4)

_____         All punch list items completed

_____          _____         Contract Cx requirements completed