Commissioning Sequence Progress Check Sheet

System: Electrical Testing

Includes testing of all electrical devices and cable to assure quality and safety before energizing system.

Specification Section: 16080

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____	Testing Contractor has Reviewed Project

_____          	_____	Testing Plan Submitted

_____	Equipment Operational

_____  	Electrical Testing Complete

_____ Disconnect Switches

_____ Busway

_____ Natural Gas Generators

_____ Fire Alarm System

_____ Grounding System

_____ Lightning Protection System

_____ Medium Voltage Cable

_____ Motors

_____ Motor Control Centers

_____ Motor Starters

_____ Secondary Unit Substations

_____ Switchboards

_____ Transfer Switches

_____ Low-voltage Transformers

_____ Wire & Cable under 600 volts #4AWG and larger

_____  	All Issues Resolved

_____          	_____ 	Preliminary Report Submitted

_____          	_____ 	Final Report Approved

_____          	_____ 	Contract Commissioning Requirements Completed