Commissioning Sequence Progress Check Sheet

System: Electrical Systems Testing

Provide copy of test report in Commissioning Manual.

Original test reports shall be submitted to G.C. for transmittal to Owner.

Perform all tests specified in the project specifications.

The intent of this document is to generally assure that all testing has been accomplished. It is not intended to verify that every piece of equipment requiring testing has actually been tested.

Contractor's initials verifies that tests are performed as required per specifications.

Specification Section:  16950

Contractor

Acknowledgment

_____        Power Cable Tests

_____        Control Cable Tests

_____        Motor Control Tests

_____        Buss Tests

_____        Disconnect Tests

_____        Transformer Tests

_____         Motor Tests

_____         Grounding Tests

_____         All Testing Complete

_____         Testing Reports submitted to Owner