Commissioning Sequence Progress Check Sheet

System: Emergency Power Distribution

System includes all power and distribution panelboards, lighting and receptacle panels, circuit breakers, grounding conductors, motor starters, disconnect switches, and motor control centers fed from substations 7A & 7B and backed-up by emergency generators GEN-7A and GEN-7B.

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____	Shop Drawings Approved

_____  	Major Components Delivered

_____  	Pre-installation Checklist Completed and Submitted

_____	Installations Complete

_____	Electrical Testing Complete

_____		    	_____	Pre-start Check Sheet Completed

_____		    	_____	Startup Notification Submitted

_____		    	_____	Functional Testing Check sheet Completed

_____          	_____  	Training Scheduled

_____          	_____  	Training Completed

_____	All Punch-list Items Completed

_____		    	_____	Contract Commissioning Requirements Completed