Commissioning Sequence Progress Check Sheet

System: Environmental Rooms

Overview: Environmental Rooms maintain a temperature of 32ºF to 104ºF, humidity of 50% RH at 100ºF, and have ventilation and exhaust connections.  The system has electric heating coils, refrigeration cooling system, electric vaporizer for humidification, and a desiccant dehumidifier. The refrigeration system condensing unit is water cooled. There are approximately 9 environmental rooms with room numbers 3169, 3173, 4143, 4342, 5155, 5342, 5347, 6155, and 6342.

Spec Section:  13034

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgements

Owner		Contractor

_____		Shop Drawings Approved

_____       	Major Components Delivered

_____          	_____       	Installation Manuals submitted

_____       	Pre-Installation Check Sheets Completed

_____	     	Mechanical Complete

_____       	Electrical Complete

_____      	Controls Complete (subcontractor)

_____      	Controls Complete (UM DDC)

_____          	_____      	Mfgr. Check-Test-Start

_____ Mfgr. Check-Test-Start Report

_____          	_____      	Pre-Start check sheet complete

_____		   	_____		Start – up Notification Submitted

_____          	_____      	Functional Testing check sheet complete

_____          	_____     	Training Plan (Draft) submitted and approved

_____          	_____       	Training Scheduled

_____          	_____       	Training Completed

_____      	All Punch-List Items Completed

_____		    	_____		Contract Commissioning Requirements Completed