Commissioning Sequence Progress Check Sheet

System: Exit and Emergency Lighting

All lights feed from emergency power serving the building including exit and emergency fixtures.

Specification Section: 16510

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____	Shop Drawings Approved

_____	Installation Complete

_____  	Electrical Inspection by UM Inspector

_____			_____	Start-up Notification Submitted

_____          	_____  	Battery Back-Up Test Plan submitted and approved

_____          	_____  	Battery Back-Up Emergency Lighting Check-Test

_____          	_____  	Exit and Emergency Lighting Check-Test

_____  	All Punch-List Items Completed

_____		    	_____	Contract Commissioning Requirements Completed