FUNCTIONAL TEST – FAN COIL SYSTEM

University of Michigan Plant Extension

Commissioning and Plan Review Department

Phone (734) 615-7168 Fax (734) 936-3334

This is not a punch list.  The engineer of record, not the commissioning team, performs Punch listing.

Project Name: XXX					Project Number: XXXX-XX-XXX

Tag No.			Model No.

Attendees:

1) _________________________________________ 2)____________________________________

3) _________________________________________ 4)____________________________________

5) _________________________________________ 6)____________________________________

7) _________________________________________ 8)____________________________________

Is system operating or is this initial start-up? _________________________________________________

Is the Pre-Start Checklist Complete? _______________________________________________________

_______ Fan has correct rotation

_______ Is there any unusual vibration?)

_______ Is there any unusual noise?

_______ Filter accessible?

_______ Spring Isolators Installed?

_______ Therkmostat controls unit?

Measured amp draw (A/B/C):  ______ / _______ / ________

Measured voltage (AB/BC/CA): ______ / _______ / ________

Remarks:

## Completed by (print): 				 	Company:

Witnessed By:						Date:

U of M Commisioner