Commissioning Sequence Progress Check Sheet

System: Fire Pump Controller

Overview: The existing fire pump controller and jockey pump controller are being replaced with new controllers. The new fire pump controller is to be installed within the same space that the existing controller currently occupies, reusing the existing buried electrical feeders. Shutdown/activation of fire pump system is to be coordinated with the Owner's personnel – work to be done within five (5) consecutive calendar days.

Specification Section: 15320

Acknowledgments

Owner		Contractor

_____		    _____		Shop Drawings Submitted

_____		    _____		Shop Drawings Approved

_____          _____        Major Components Delivered

_____          _____        O&M Manual (Draft) submitted and approved

_____		    _____		 Installations Complete

_____		    _____		 FM and State Fire Marshall concerns addressed

(documented)

_____          _____        Pre-Test checks complete

_____          _____        Check-Test-Start-Up / Functional Test Completed

(arranged with UM Fire Alarm Shop –T. Metty  647- 2046

_____		    _____		O & M Manual (Final) Submitted

_____          _____        Training Scheduled and Completed

_____		    _____		All Punch-list Items Completed

_____          _____        As-Built Dwgs submitted/approved Fire Pump Controller

_____		    _____		System Accepted by Owner