Commissioning Sequence Progress Check Sheet

System: LSI  Fire Suppression Systems

Overview: An 8 inch fire suppression line enters level 2 mechanical room.  The fire/jockey pump supplies water to a standpipe riser, a standpipe/sprinkler riser, and to the tunnel for Parking Garage/Commons Building systems. The standpipe/sprinkler riser supplies one sprinkler zone control valve on each floor.  There are dry pipe systems for the loading docks and for each cold/environmental room.

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____		Shop Drawings Approved

_____		Major Components Delivered

_____          _____       	Installation Instructions Provided

_____		Pre-Installation Checklist Completed (Fire Pump)

_____		_____ 		Pipe / Pump alignment confirmed

UM Cx to view before bolting pipe to pump flanges.

_____		Piping Installations Complete

_____		Pressure Testing Complete

_____		 _____		Flushing/Cleaning Plan Submitted/Approved

_____          _____ 		Flushing Complete

_____		 _____		FM and State Fire Marshall concerns addressed

(documented)

_____		Pre-start Check Sheet Complete

_____	     	 _____		Start – up Notification Submitted

_____		 _____		Functional Test Check Sheet Complete

_____          _____       	Training Scheduled

_____		 _____		Training Completed

_____          _____ 		Contractor's Material & Test Certificate delivered

_____		All Punch-list Items Completed

_____		 _____		Contract Commissioning Requirements Completed