Commissioning Sequence Progress Check Sheet

System: Fire Suppression Systems

Overview: The existing automatic wet sprinkler system and the fire standpipe system are being revised at Floor Level 2, 3, 4, & 5 as part of this project. The fire protection standpipe riser is being extended at the Penthouse Level.

Specification Section: 15300

Acknowledgments

Owner		Contractor

_____		    _____		Shop Drawings Submitted

_____		    _____		Shop Drawings Approved

_____          _____        Major Components Delivered

_____          _____        O&M Manual (Draft) submitted and approved

_____		    _____		Piping Installations Complete

_____          _____        Flushing Complete

_____		    _____		FM and State Fire Marshall concerns addressed

(documented)

_____		    _____		O & M Manual (Final) Submitted

_____          _____        Training Session Completed (walk-down w/UM Plant)

_____          _____        Contractor's Material & Test Certificate delivered

_____		    _____		All Punch-list Items Completed

_____          _____        As-Built Drawings submitted/approved Sprinkler System

_____		    _____		System Accepted by Owner