Commissioning Sequence Progress Check Sheet

System: Lab Air Systems LEF- 3

Overview: The Labs are on floors 3, 4, 5, and 6. The Vivarium on the first floor is not considered part of the labs. There are four exhaust systems for the labs. Each one is dedicated to a floor. LEF-3 serves floor 3, LEF- 4 serves floor 4, LEF- 5 serves floor 5, and LEF-6 serves floor 6.  Floor 2 has no lab exhaust. Each system has four fans supported on a plenum. Three fans match capacity and the fourth fan is redundant. Each plenum uses by-pass dampers and fan staging to maintain duct pressures. The floors are supplied by AHU-1 and AHU-2 on the second floor (Refer to AHU sequqnces).

Cx Sequence:

Acknowledgements

Owner		Contractor

_____		Shop Drawings Approved

Fans, Ductwork, Dampers

_____		Major Components Delivered

_____            	_____       	Installation Manuals submitted

_____       	Pre-Installation Check Sheets Completed

_____	   	Mechanical Complete

_____       	Electrical Complete

_____ AHU Fan(s)    _____ Control Panel

_____        	Controls Complete (subcontractor)

_____        	Controls Complete (UM DDC)

_____        	Ductwork Testing Complete

_____        	Pre-Start-Up Checks Complete

_____           	_____        	Functional Test Checklist Complete

_____        	All Punch-List Items Completed

_____           	_____        	Training Scheduled

_____		     	_____		Training Completed

_____		     	_____		Pre-Test Certificate of Guarantee submitted (15831A, 1.3.C)

_____		     	_____		Factory test for vibration, amp draw and mech integrity submitted

_____            	_____       	Operational Acceptance Date Provide by Owner (15831A, 1.6.C)

_____		     	_____		Contract Commissioning Requirements Completed

Commissioning Sequence Progress Check Sheet

System: Lab Air Systems LEF- 4

Overview: The Labs are on floors 3, 4, 5, and 6. The Vivarium on the first floor is not considered part of the labs. There are four exhaust systems for the labs. Each one is dedicated to a floor. LEF-3 serves floor 3, LEF- 4 serves floor 4, LEF- 5 serves floor 5, and LEF-6 serves floor 6.  Floor 2 has no lab exhaust. Each system has four fans supported on a plenum. Three fans match capacity and the fourth fan is redundant. Each plenum uses by-pass dampers and fan staging to maintain duct pressures. The floors are supplied by AHU-1 and AHU-2 on the second floor (Refer to AHU sequqnces).

Cx Sequence:

Acknowledgements

Owner		Contractor

_____		Shop Drawings Approved

Fans, Ductwork, Dampers

_____		Major Components Delivered

_____            	_____       	Installation Manuals submitted

_____       	Pre-Installation Check Sheets Completed

_____	   	Mechanical Complete

_____       	Electrical Complete

_____ AHU Fan(s)    _____ Control Panel

_____        	Controls Complete (subcontractor)

_____        	Controls Complete (UM DDC)

_____        	Ductwork Testing Complete

_____        	Pre-Start-Up Checks Complete

_____           	_____        	Functional Test Checklist Complete

_____        	All Punch-List Items Completed

_____           	_____        	Training Scheduled

_____		     	_____		Training Completed

_____		     	_____		Pre-Test Certificate of Guarantee submitted (15831A, 1.3.C)

_____		     	_____		Factory test for vibration, amp draw and mech integrity submitted

_____            	_____       	Operational Acceptance Date Provide by Owner (15831A, 1.6.C)

_____		     	_____		Contract Commissioning Requirements Completed

Commissioning Sequence Progress Check Sheet

System: Lab Air Systems LEF- 5

Overview: The Labs are on floors 3, 4, 5, and 6. The Vivarium on the first floor is not considered part of the labs. There are four exhaust systems for the labs. Each one is dedicated to a floor. LEF-3 serves floor 3, LEF- 4 serves floor 4, LEF- 5 serves floor 5, and LEF-6 serves floor 6.  Floor 2 has no lab exhaust. Each system has four fans supported on a plenum. Three fans match capacity and the fourth fan is redundant. Each plenum uses by-pass dampers and fan staging to maintain duct pressures. The floors are supplied by AHU-1 and AHU-2 on the second floor (Refer to AHU sequqnces).

Cx Sequence:

Acknowledgements

Owner		Contractor

_____		Shop Drawings Approved

Fans, Ductwork, Dampers

_____		Major Components Delivered

_____            	_____       	Installation Manuals submitted

_____       	Pre-Installation Check Sheets Completed

_____	   	Mechanical Complete

_____       	Electrical Complete

_____ AHU Fan(s)    _____ Control Panel

_____        	Controls Complete (subcontractor)

_____        	Controls Complete (UM DDC)

_____        	Ductwork Testing Complete

_____        	Pre-Start-Up Checks Complete

_____           	_____        	Functional Test Checklist Complete

_____        	All Punch-List Items Completed

_____           	_____        	Training Scheduled

_____		     	_____		Training Completed

_____		     	_____		Pre-Test Certificate of Guarantee submitted (15831A, 1.3.C)

_____		     	_____		Factory test for vibration, amp draw and mech integrity submitted

_____            	_____       	Operational Acceptance Date Provide by Owner (15831A, 1.6.C)

_____		     	_____		Contract Commissioning Requirements Completed

Commissioning Sequence Progress Check Sheet

System: Lab Air Systems LEF- 6

Overview: The Labs are on floors 3, 4, 5, and 6. The Vivarium on the first floor is not considered part of the labs. There are four exhaust systems for the labs. Each one is dedicated to a floor. LEF-3 serves floor 3, LEF- 4 serves floor 4, LEF- 5 serves floor 5, and LEF-6 serves floor 6.  Floor 2 has no lab exhaust. Each system has four fans supported on a plenum. Three fans match capacity and the fourth fan is redundant. Each plenum uses by-pass dampers and fan staging to maintain duct pressures. The floors are supplied by AHU-1 and AHU-2 on the second floor (Refer to AHU sequqnces).

Cx Sequence:

Acknowledgements

Owner		Contractor

_____		Shop Drawings Approved

Fans, Ductwork, Dampers

_____		Major Components Delivered

_____            	_____       	Installation Manuals submitted

_____       	Pre-Installation Check Sheets Completed

_____	   	Mechanical Complete

_____       	Electrical Complete

_____ AHU Fan(s)    _____ Control Panel

_____        	Controls Complete (subcontractor)

_____        	Controls Complete (UM DDC)

_____        	Ductwork Testing Complete

_____        	Pre-Start-Up Checks Complete

_____           	_____        	Functional Test Checklist Complete

_____        	All Punch-List Items Completed

_____           	_____        	Training Scheduled

_____		     	_____		Training Completed

_____		     	_____		Pre-Test Certificate of Guarantee submitted (15831A, 1.3.C)

_____		     	_____		Factory test for vibration, amp draw and mech integrity submitted

_____            	_____       	Operational Acceptance Date Provide by Owner (15831A, 1.6.C)

_____		     	_____		Contract Commissioning Requirements Completed