FUNCTIONAL TEST - MOTOR CONTROL CENTER MCC-2B

University of Michigan Plant Extension

Commissioning and Plan Review Department

Phone (734) 615-7168 Fax (734) 936-3334

This is not a punch list.  The engineer of record, not the commissioning team, performs Punch listing.

Project Name: XXX					Project Number: XXXX-XX-XXX

Tag No.			Model No.			Serial No.

Attendees:

1) _________________________________________ 2)____________________________________

3) _________________________________________ 4)____________________________________

5) _________________________________________ 6)____________________________________

7) _________________________________________ 8)____________________________________

9) _________________________________________ 10)___________________________________

Check     Item							Comments

# General

Is system operating or is this initial start-up? __________________________________________________

Is the Pre-Start Checklist Complete? ________________________________________________________

# General

_______  Feeder size and source (record) ____________________________________________________

_______  Labels secure and complete _______________________________________________________

_______  Data/measurements _____________________________________________________________

Short Circuit Rating (AIC): _______________

Maximum amp draw (A/B/C): _____ / _____ / _____

Measured amp draw (A/B/C): _____ / _____ / _____

Design voltage (AB/BC/AC/AG/BG/CG): _____ / _____ / _____ / _____ / _____ / _____

Measured voltage (AB/BC/AC/AG/BG/CG): _____ / _____ / _____ / _____ / _____ / _____

# Starters

_______  Motor rotation correct __________________________________________________________

_______  H-O-A test____________________________________________________________________

_______  Red run pilot light functions correctly ______________________________________________

_______  Start-Stop by DDC _____________________________________________________________

_______  Status to DDC _________________________________________________________________

Remarks:

## Completed by (print): __________________________ Company: ______________________________

Signed: _______________________________________ Date: _________________________________