Commissioning Sequence Progress Check Sheet

System: LSI Medium Sterilizer

Overview: Includes Medium Sterilizer, SM-1 on level 1. This is a steam sterilizer 24” x 36” x 60” in size.

Spec Section: 11609

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____		Shop Drawings Approved

_____       	Major Components Delivered

_____          	_____       	Installation Manuals submitted

_____       	Pre-Installation Check Sheets Completed

_____	     	Mechanical Complete

_____       	Electrical Complete

_____          	_____      	Mfgr. Check-Test-Start

_____ Mfgr. Check-Test-Start Report

_____          	_____      	Pre-Start check sheet complete

_____		   	_____		Start – up Notification Submitted

_____          	_____      	Functional Testing check sheet complete

_____          	_____     	Training Plan (Draft) submitted and approved

_____          	_____       	Training Scheduled

_____          	_____       	Training Completed

_____      	All Punch-List Items Completed

_____		    	_____		Contract Commissioning Requirements Completed