Commissioning Sequence Progress Check Sheet

System: Steam and Condensate System

Overview: Piping, fittings, specialties and duplex condensate return unit (CP-1)

Specification Section: 15525; 15582

Acknowledgements

Owner		Contractor

_____		    _____		Shop Drawings Submitted and Approved

List: valves, hangers, traps, vac. breakers, flash tank,

PRV's, steam condensate return unit CP-1

_____          _____       Shop Drawings approved

_____          _____       Welder Certifications submitted

_____          _____       O&M Manual (Draft) submitted and approved

_____		    _____		Major Components Delivered

_____		    _____		Installations Complete

_____          _____       Pressure Testing Complete

_____          _____       Flushing/Cleaning Plan Submitted/Approved

_____		    _____		Flushing Complete   ______ Initial Flush

______  Cleaning

______  Rinse

_____          _____      Chemical Treatment Chemicals Installed (Owner)

_____          _____      Valve Tag Schedule Installed

_____		    _____   	O&M Manual (Final) submitted

_____          _____       Training Scheduled and Completed

_____          _____        All Punch-list Items Completed

_____		    _____		As-Built Drawings Submitted/Approved STEAM &

STEAM CONDENSATE

_____		    _____		System Accepted by Owner