Commissioning Sequence Progress Check Sheet

System: Substation 7A

1500/2000kVA, 13.2kV to 480Y/277V, double ended substation with primary loop switches and a main-tie-main scheme.  Substation serves normal power to building and fire pump controller.

Specification Section: 16360

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____	Shop Drawings Approved

_____  	Major Components Delivered

_____  	Pre-installation Checklist Completed and Submitted

_____	Installations Complete

_____	Electrical Testing Complete

_____		    	_____	Pre-start Check Sheet Completed

_____		    	_____	Startup Notification Submitted

_____		    	_____	Functional Testing Check sheet Completed

_____          	_____  	Training Scheduled

_____          	_____  	Training Completed

_____	All Punch-list Items Completed

_____		    	_____	Contract Commissioning Requirements Completed