Commissioning Sequence Progress Check Sheet

System: DDC Temperature Controls

Overview: Control system work is divided between the Contractor and the Owner's Plant Controls Group. Contractor work includes the installation of DDC Panels (provided by the Owner); the provision and installation of all devices – both pneumatic and DDC; furnishing and installation of all conduits, wiring, piping, auxiliary panels, etc. and all other work required for complete and operating temperature control systems with the exception of the following work that is performed by the Owner's Plant Controls Group: terminations of wiring and pneumatic piping within DDC panels; programming of controls; and check-test/start/verification of controls.

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____	Pre-submittal of Controls' Schematics to Plant Engineer

(S. Woldt  936-0400)

_____	Shop Drawings Approved

_____ 	Major Components Delivered  (Panels picked-up

at Plant)

_____          	_____ 	Siemens Functional Test Procedure Submitted

_____ 	All Electrical Complete (Power to Panels)

_____	Controls Complete (Subcontractor)

_____	Controls Complete (U of M DDC)

_____		    	_____	Functional Testing Completed;

(Siemens Functional Test Procedure / Report)

_____	All Punch-list Items Completed

_____		    	_____	Contract Commissioning Requirements Completed