Commissioning Sequence Progress Check Sheet

System: Testing & Balancing

Water Balance, Air Balance, Vibration Testing, Sound Testing

Overview: Complete air and water balancing is required on this project. Additionally, all rotating equipment larger than ½ HP shall be vibration tested and any excess vibration levels shall be corrected by the equipment supplier. Sound level measurement is required at listed rooms. Includes coordination for attendance of Cx agent and UM Plant personnel during balancing activities.

Acknowledgments

Owner		Contractor

_____		    _____		Balance Contractor has Reviewed Project

_____		    _____   	Pre-Balance Conference held; Balance Plan Established

(attendees: Mech. Contractor, General Contractor, UM

Cx agent, UM Const. Mgmt. Field Rep., T&B Contractor)

_____          _____       Balancer has Completed Field Investigation and

Prepared Deficiency List broken down by System

and Prepared System for Balancing (see spec.)

_____		    _____		Field Deficiencies Corrected

_____		    _____		HHW System Balanced

_____          _____        Med Sci II Secondary CHW System (Summer/Year

Round) Balanced

_____         _____         Buhl CHW For Emergency Summer & Year Round

Tertiary System Balanced

_____		    _____		Air Handling systems Balanced (AHU-5, AHU-21)

_____		    _____		Exhaust Air systems Balanced (E-8, E-19)

_____          _____        Vibration Testing Plan Submitted (Listed Equipt.)

_____          _____        Vibration Testing Complete

_____          _____         All Vibration Issues Resolved

_____          _____         Sound Level Test Performed

_____          _____         Preliminary Test & Balance Report Submitted

_____          _____         Sound Level Test Report Submitted

_____          _____         Final Test & Balance Report Approved

_____          _____         System Accepted by Owner