Editors Note: Blue text not to be changed.  Remember to fill in system name in title and footer.

PRE-START CHECKLIST- VARIABLE FREQUENCY DRIVES

University of Michigan Plant Extension

Commissioning & Plan Review Department

Phone: (734) 615-7168   Fax: 936-3334

This document shall be filled out by the contractor and provided to the UM Commissioning Engineer at least 7 days in advance of the actual equipment start-up. Note “NA” for not applicable or “NO” for problem or non-compliance. This document is to be used in conjunction with the manufacturer’s pre-start checklist.

Project Name: XXX			 		Project Number: XXXX-XX-XXX

# At least one week prior to start-up:

_____ Equipment/System Start-up Notification Form has been faxed to the UM Cx agent

===============================================================================

VFD Serving:

Tag No. 			Model No. 				Serial No.

___________________________________________________________________________________

____ Power to variable frequency drives (VFD)

____ Power from VFDs to equipment

____ For equipment that has a separate disconnect between the VFD and the rotating equipment, are the early break contacts at the disconnect installed and wired back to the VFD?

____ VFD manufacturers pre-starts and testing complete per spec

____ Driven equipment mfg.'s pre-starts complete (equipment run off the VFD)

Control wiring from DDC to VFDs run and landed at the DDC and at the VFDs?

_____ D.O.  _____ D.I. _____ A.I. _____ A.O.

____UM DDC complete to allow testing of the above control points

Certification:  I certify the above checks have been made (signed/date)

===============================================================================

VFD Serving:

Tag No. 			Model No. 				Serial No.

___________________________________________________________________________________

____ Power to variable frequency drives (VFD)

____ Power from VFDs to equipment

____ For equipment that has a separate disconnect between the VFD and the rotating equipment, are the early break contacts at the disconnect installed and wired back to the VFD?

____ VFD manufacturers pre-starts and testing complete per spec

____ Field testing completed by Independent Testing Agency per spec

____ Driven equipment mfg.'s pre-starts complete (equipment run off the VFD)

Control wiring from DDC to VFDs run and landed at the DDC and at the VFDs?

_____ D.O.  _____ D.I. _____ A.I. _____ A.O.

____UM DDC complete to allow testing of the above control points

Certification:  I certify the above checks have been made (signed/date)