FUNCTIONAL TEST – 3.47 VACUUM SYSTEM

University of Michigan Plant Extension

Commissioning and Plan Review Department

Phone (734) 615-7168 Fax (734) 936-3334

This is not a punch list.  The engineer of record, not the commissioning team, performs Punch listing.

Project Name: XXX					Project Number: XXXX-XX-XXX

Attendees:

1) _________________________________________ 2)____________________________________

3) _________________________________________ 4)____________________________________

Pump -1

Pump mfg. start-up report obtained: _______________________________________________________

Pump data plate legible: ________________________________________________________________

Pump rotation verified: _________________________________________________________________

Flexible connections not torqued/mis-aligned: ________________________________________________

Flexible connection restraining bolts not over tighten: __________________________________________

Inertia base clears floor and is free to move? __________________________________________________

System at maximum flow, pump at full speed, record motor current:

Rated Motor Amps: ___________ each phase

Measured Motor Amp Draw: L1__________ L2 ____________ L3______________

Rated Motor Volts: ___________ each phase

Measured Motor Volts : L1__________ L2 ____________ L3______________

Unusual vibration? ______________________________________________________________________

Unusual noise? _________________________________________________________________________

DDC picks up alarm contacts_________________________________________

Pump -2

Pump mfg. start-up report obtained: _______________________________________________________

Pump data plate legible: ________________________________________________________________

Pump rotation verified: _________________________________________________________________

Flexible connections not torqued/mis-aligned: ________________________________________________

Flexible connection restraining bolts not over tighten: __________________________________________

Inertia base clears floor and is free to move? __________________________________________________

System at maximum flow, pump at full speed, record motor current:

Rated Motor Amps: ___________ each phase

Measured Motor Amp Draw: L1__________ L2 ____________ L3______________

Rated Motor Volts: ___________ each phase

Measured Motor Volts : L1__________ L2 ____________ L3______________

Unusual vibration? ______________________________________________________________________

Unusual noise? _________________________________________________________________________

DDC picks up alarm contacts_________________________________________

Remarks:______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

__________________________________________________________________________________

Completed By: ______________________  Company:____________________Date:______________