Pre-Start Check List

University of Michigan

Facilities Evaluation and Commissioning Dept.

Phone: (734) 615-7168   Fax: 936-3334

This document shall be filled out by the contractor and provided to the UM Commissioning Engineer in advance of actual equipment start-up.  Note "NA" for not applicable, "NO" for problem or non-compliance.  This document is to be used in conjunction with the manufacturer's pre-start checklist.

Project Name:

Project Number:

Completed by/representing (print):

# Water Softener

Tag No. 			Model No. 				Serial No.

Check		Item					Comments

General Requirements

Equipment and components match reviewed and approved shop drawings

Installation instructions and drawings were reviewed during installation

Equipment and components are free of obvious physical damage

Equipment and surrounding area is clean

Nameplate data has been recorded, nameplate is attached and legible

Coordination - the following must be notified of water softener start-up

Mechanical Contractor

Manufacturer's representative.

U of M commissioner

Start-up will be conducted by:

Installation Requirements

All piping is properly supported and insulated

CW,  Drain, and Power ready for operation

Water softener and brine tank is set in place

Properly supported

Accessible for service

Piping is complete and ready

CW inlet and outlet piping installed per detail and manufacturer's instructions

Backflow preventer installed.

Backwash line routed to floor drain

Interconnecting piping complete

Water softener bypass line installed.

Power wiring complete and ready. Cord from unit reaches 120V outlet

Salt tank has been cleaned and filled with salt.

Target water hardness has been identified:

Additional Comments:

Certification:  I certify the above checks have been made and unit is ready for start-up  (signed/date)